Product information sheet

| Supplier’s name or trade mark: TESPA ELEKTRİK PAZARLAMA SAN. LTD. ŞTİ |  |  |  |  |
| --- | --- | --- | --- | --- |
| Supplier’s address (1) : EMEKYEMEK MAH. YANIKKAPI SOK. NO:32/D BEYOĞLU/İSTANBUL/TÜRKİYE |  |  |  |  |
| Model identifier: G95-4W |  |  |  |  |
| Type of light source: LED BULB |  |  |  |  |
| Lighting technology used: |  | LED | Non-directional or directional: | NDLS |
| Light source cap-type (or other electric interface) |  | E27 |  |  |
| Mains or non-mains: |  | MLS | Connected light source (CLS): | NO |
| Colour-tuneable light source: |  | NO | Envelope: | - |
| High luminance light source: |  | NO |  |  |
| Anti-glare shield: |  | NO | Dimmable: | NO |
| Product parameters |  |  |  |  |
| Parameter |  | Value | Parameter | Value |
| General product parameters: |  |  |  |  |
| Energy consumption in on-mode (kWh/1 000 h) |  | 4 | Energy efficiency class | F |
| Useful luminous flux (Φuse), indicating if it refers to the flux in a sphere (360°), in a wide cone (120°) or in a narrow cone (90°) |  | 370Lm | Correlated colour temperature, rounded to the nearest 100 K, or the range of correlated colour temperatures, rounded to the nearest 100 K, that can be set | 2500K |
| On-mode power (Pon), expressed in W |  | 4 | Standby power (Psb), expressed in W and rounded to the second decimal | 0,5 |
| Networked standby power (Pnet) for CLS, expressed in W and rounded to the second decimal |  | - | Colour rendering index, rounded to the nearest integer, or the range of CRI-values that can be set | 80 |
| Outer dimensions without separate control gear, lighting control parts and non-lighting control parts, if any (millimetre) | Height | 108 | Spectral power distribution in the range 250 nm to 800 nm, at full-load |  |
|  | Width | 60 |  |  |
|  | Depth | 60 |  |  |
| Claim of equivalent power (3) |  | YES | If yes, equivalent power (W) | 40 |
|  |  |  | Chromaticity coordinates (x and y) | x=0.4833 y=0.4185 |
| Parameters for directional light sources: |  |  |  |  |
| Peak luminous intensity (cd) |  | N/A | Beam angle in degrees, or the range of beam angles that can be set | 360 |
| Parameters for LED and OLED light sources: |  |  |  |  |
| R9 colour rendering index value |  | 1 | Survival factor | 0,90 |
| the lumen maintenance factor |  | 0,94 |  |  |
| Parameters for LED and OLED mains light sources: |  |  |  |  |
| displacement factor (cos φ1) |  | 0,50 | Colour consistency in McAdam ellipses | 6 |
| Claims that an LED light source replaces a fluorescent light source without integrated ballast of a particular wattage. |  | - | If yes then replacement claim (W) | - |
| Flicker metric (Pst LM) |  | 1 | Stroboscopic effect metric (SVM) | 0,4 |